Ruben Chaer.
<rchaer@fing.edu.uy>
September 27/2018
Washington D.C. - USA
The Uruguayan case

---
Changes in the generation matrix of Uruguay.
- In 2010 we made an optimal plan for the next 20 years that showed that the incorporation of a large amount of wind capacity was optimal.
- Fine models were introduced to take into account the dynamics of the variations of the resources and their correlations, to have the peace of mind that the system in those conditions was operable in a safe way.

---
Modeling tools available in 2010.
- SimSEE Platform for simulation of the Optimal Operation of hydro-thermal system with fine representation of renewable resources.
- OddFace Distributed optimizer of high-cost evaluation functions. Used with SimSEE to compute optimal expansion planning.

---
The 2011’s risk picture
Energy volume risk multiplied by the petroleum price risk

---
Petroleum forecast
mmm …. more variability than renewables !!!
Nobody knows where the world goes

---
Actual installed capacity.

---
The new energy matrix’s risk picture

---
The optimal expansion generates an energy surplus.

---
Uruguay Market Model
- Energy * Spot Price
- Spot Price = min( Marginal Cost, 250 USD/MWh)
- The demand is forced to contract between 50 and 85% of its Firm Capacity.
- The firm capacity not contracted or when the generator that supports the contract is in maintenance is acquired in a pool of bidders with a regulated ceiling.

---
Regulatory Issue: Firm Capacity
- The regulatory decree for the electricity sector 360/02 is from the year 2002, but until today, the only energy buyer is the state company UTE, so no firm capacity contract has been put into operation.
- There are approximately 80 MW of private generators to the Spot that have requested the recognition of their Firm Capacity to be able to make contracts and thus receive the corresponding remuneration that they do not receive for the energy market.
- The regulation explains how to calculate the Firm Capacity of thermal power plants and hydroelectric plants, but says nothing about wind and solar power.
- In 2016, a proposal was made to calculate the firm capacity of wind and solar energy, which consists of recognizing these generators as the Firm Capacity equivalent to that of the open cycle turbine that it replaces. It is being studied.

---
Ancillary services need also to be regulated for the new type of actors.
- In Uruguay, wind and solar plants are controlled by the dispatch center and collaborate in the demand's following and voltage control.
- There is no need for them to collaborate in frequency control, but they can do so.

---
Uruguay, optimal expansion
2019 - 2045

---
A regulatory change is needed
- The world is heading to Electrification as the way to obtain clean and sustainable energy.
- It is necessary to recognize the contribution to the Firm Capacity of the non-conventional renewable energies in their synergy with the other elements of the systems. In the same solution, it must be thought how the contribution of a battery bank will be recognized.
- A silly example: A village in the desert that must be powered by solar panels and a battery bank. Neither of the two elements alone has a Firm Capacity, but the set does.

---
A simple solution?
- In theory, remuneration at marginal cost (considering rationing costs) should reflect the incentive of all generators, paying both fixed and variable costs.
- In practice, in countries such as Uruguay, where hydroelectricity imposes an interannual price volatility, the income risk of generators prevents them from considering such remuneration in their business plans. This argument (an others) are used to impose the ceiling of 250 USD/MWh to the Spot Price.
- So a simple solution (and I understand that classic) is to remunerate each generator for its contribution of Firm Capacity the income that they stopped receiving due to the cut in the spot price.

---
A bit about the intermittency of renewable energies.

---
volatility analysis.
accumulated deviation from the expected value
Wind
Solar
Hydro

---
Responsive Demands and Battery Storage are the key
to filter intra week energy availability variations.

---
The regional integration id the key to filter slow variations.

---
Compensation to Demand for payment of installed capacity
- The expansion of the system is carried out assuming that there are no exports or imports.
- With the political instability of our countries, it would be very risky to carry out the expansion of the system assuming a good energy integration.
- The Demand pays for the installed capacity, then it should receive the benefits for exports at least associated with the Firm Capacity used.
- If we load exports with a fixed charge for use of Firm Capacity of the system we can be inhibiting part of them.

---
VATES
Forecast of the next 336 hours of the power system operation.
- 1) Price signal for National Responsive Demands.
- 2) Determination of energy packets available for export a week ahead.
http://vates.adme.com.uy

---
Modeling tools developed by ADME and IIE-FING.
- Pronos Generator of Generation Forecasts in each solar and wind farm based on the results of atmospheric models. This application also generates detailed response models from the Power Plants that are used to calculate the cut-off energy when there is no room left in the system for dispatch.
- VATES It runs every hour, continuously. It integrates the information of system status and forecasts and calculates the optimal operation forecast of the system with hourly detail for the following 14 days.
  As a result, all the hours are updated, and the forecast of the Spot Price is published on the ADME website.
  The intention is that this signal can be used to implement Demands With Response..

---
Regulation for Responsive Demand
- We have resolve the first step (compute and publish the forecast of the Spot Price).
- Now we need a good regulation to enable Responsive Demands to appear.
- There are details to consider. For example, if all the automatic controllers of the Responsive Demands are informed at the same time and all take the same action (move to the time of lower marginal cost) the system is unstable.

---
Thank you very much for your attention!
Be quick enough not to miss the train and slow enough not to get on the wrong one.